|  | QUALITY MANAGEMENT PLAN Laboratory Quality Assurance & Compliance Framework | Doc No: QMP-001 Version: 1.0 Effective: __________ Review Due: __________ |
| --- | --- | --- |

1. DOCUMENT CONTROL INFORMATION

| Prepared By | Reviewed By | Approved By | Approval Date |
| --- | --- | --- | --- |
| Title |  |  | Next Review Date |

2. PURPOSE & SCOPE

This Quality Management Plan (QMP) defines the policies, procedures, and responsibilities for maintaining quality standards for  laboratory operations. It applies to all personnel, processes, instruments, and services within the scope of the laboratory's CLIA certificate.

| Scope Item | Description |
| --- | --- |
| Testing Sites | All laboratory sites / departments covered by this QMP: |
| Test Menu | Clinical chemistry, hematology, immunology, microbiology, molecular diagnostics (list all applicable): |
| Regulations | CLIA 42 CFR Part 493, CAP Checklist, HIPAA, applicable state regulations, OSHA standards |

3. QUALITY POLICY STATEMENT

Quality Policy: Lab2Doctors is committed to providing accurate, timely, and clinically relevant laboratory results that support optimal patient care. We achieve this through continuous quality improvement, adherence to regulatory requirements, competent personnel, well-maintained equipment, and evidence-based practices. Signed: ________________________________ Date: ______________

4. QUALITY SYSTEM ESSENTIALS (CLSI GP26-A4)

| # | QSE Component | Description / Lab Approach | Responsible Party |
| --- | --- | --- | --- |
| 1 | Organization | Legal structure, lab mission, org chart, governance |  |
| 2 | Personnel | Hiring, credentials, training, competency, staffing |  |
| 3 | Equipment | Procurement, installation, maintenance, calibration |  |
| 4 | Purchasing & Inventory | Reagent management, vendor qualification, supply chain |  |
| 5 | Process Control | Pre-analytical, analytical, post-analytical controls |  |
| 6 | Information Management | LIS, EHR interface, data security, result reporting |  |
| 7 | Documents & Records | Document control, SOP management, records retention |  |
| 8 | Occurrence Management | Incident reporting, root cause analysis, CAPA |  |
| 9 | Assessment | Internal audits, proficiency testing, external audits |  |
| 10 | Process Improvement | QI projects, metrics, corrective actions, trending |  |
| 11 | Customer Service | Client communication, complaint resolution, TAT |  |
| 12 | Facilities & Safety | Safety program, environment, emergency preparedness |  |

5. ROLES & RESPONSIBILITIES

| Role | Quality Responsibilities | Name / Contact |
| --- | --- | --- |
| Laboratory Director | Overall QMP oversight, approval of QI activities, CLIA compliance |  |
| Quality Manager / CQO | QMP maintenance, audit coordination, CAPA management |  |
| Technical Supervisor | Test method validation, SOP review, PT program oversight |  |
| General Supervisor | Day-to-day operations, competency training, shift oversight |  |
| Clinical Laboratory Scientists | QC performance, SOP adherence, incident reporting |  |
| Phlebotomy / Pre-Analytical Staff | Specimen collection compliance, labeling, chain of custody |  |
| IT / LIS Administrator | Data integrity, system access controls, interface validation |  |

6. QUALITY CONTROL PROGRAM

| QC Element | Requirement | Current Practice | Frequency |
| --- | --- | --- | --- |
| External QC (EQC) | ≥2 levels per test system; CLIA-required |  |  |
| Internal QC (IQC) | Levey-Jennings charts, Westgard rules |  |  |
| Proficiency Testing (PT) | CAP PT or equivalent; 2x/year minimum per analyte |  |  |
| Method Validation | Accuracy, precision, linearity, reference intervals |  |  |
| Delta Checks | Patient result comparison to prior result |  |  |
| Critical Values | Defined list; immediate notification protocol |  |  |

7. DOCUMENT CONTROL POLICY

| Policy Area | Requirements |
| --- | --- |
| SOP Retention | Minimum 2 years after supersession; indefinitely for methodologies |
| Review Cycle | Annual review mandatory; earlier if CLIA/CAP changes warrant |
| Approval Process | Technical Supervisor review → Laboratory Director approval |
| Distribution | Controlled copies only; electronic master document required |
| Obsolete Documents | Clearly marked OBSOLETE; removed from active use immediately |

| Quality Indicator | Target / Benchmark | Q1 Result | Q2 Result | Q3 Result | Q4 Result | Trend / Action Needed |
| --- | --- | --- | --- | --- | --- | --- |
| Specimen Rejection Rate | < 1% |  |  |  |  |  |
| Critical Value Notification TAT | ≤ 30 minutes |  |  |  |  |  |
| PT Passing Rate | ≥ 80% per analyte |  |  |  |  |  |
| Internal Audit Findings Closed | 100% within 30 days |  |  |  |  |  |
| CAPA Completion On Time | ≥ 95% |  |  |  |  |  |
| Staff Competency Completion | 100% annually |  |  |  |  |  |

8. ANNUAL QMP REVIEW & METRICS

| Quality Indicator | Target / Benchmark | Q1 Result | Q2 Result | Q3 Result | Q4 Result | Trend / Action Needed |
| --- | --- | --- | --- | --- | --- | --- |
| Specimen Rejection Rate | < 1% |  |  |  |  |  |
| Critical Value Notification TAT | ≤ 30 minutes |  |  |  |  |  |
| PT Passing Rate | ≥ 80% per analyte |  |  |  |  |  |
| Internal Audit Findings Closed | 100% within 30 days |  |  |  |  |  |
| CAPA Completion On Time | ≥ 95% |  |  |  |  |  |
| Staff Competency Completion | 100% annually |  |  |  |  |  |

9. AUTHORIZATION & SIGNATURES

| Laboratory Director | Quality Manager | Technical Supervisor |
| --- | --- | --- |
| Signature: _______________ | Signature: _______________ | Signature: _______________ |
| Name: ___________________ | Name: ___________________ | Name: ___________________ |
| Date: ___________________ | Date: ___________________ | Date: ___________________ |