## QI Dashboard
Lab2Doctors ¦ Quality Indicators Dashboard
Laboratory Performance Metrics - Monthly Tracking (CLIA / CAP / ISO 15189 Compliant)
Document #: QID-001 ¦ Version: 1.0 |  |  |  |  | Effective Date: ___________
PRE-ANALYTICAL INDICATORS
Quality Indicator | Target / Benchmark | Jan | Feb | Mar | Apr | May | Jun
Specimen Rejection Rate (%) | < 1%
Hemolysis Rate (%) | < 0.5%
QNS Rate (Qty Not Sufficient) (%) | < 0.3%
Mislabeled Specimen Rate (%) | < 0.2%
Specimen TAT — Collection to Receipt (min) | ≤ 60 min
ANALYTICAL INDICATORS
Quality Indicator | Target / Benchmark | Jan | Feb | Mar | Apr | May | Jun
QC Failure Rate (%) | < 2%
Proficiency Testing Pass Rate (%) | ≥ 80%
Instrument Uptime (%) | ≥ 98%
Calibration On-Time Compliance (%) | 100%
Reagent Lot Change Documentation (%) | 100%
POST-ANALYTICAL INDICATORS
Quality Indicator | Target / Benchmark | Jan | Feb | Mar | Apr | May | Jun
Critical Value Notification TAT (min) | ≤ 30 min
Critical Value Notification Compliance (%) | 100%
Turnaround Time — Routine (min) | ≤ 60 min
Turnaround Time — STAT (min) | ≤ 30 min
Amended Report Rate (%) | < 0.5%
QUALITY SYSTEM INDICATORS
Quality Indicator | Target / Benchmark | Jan | Feb | Mar | Apr | May | Jun
CAPA On-Time Completion Rate (%) | ≥ 95%
Internal Audit Findings Closed (%) | 100%
Staff Competency Completion (%) | 100%
Patient/Client Complaints (#) | Track & trend
Incident Reports Submitted (#) | Track & trend
MONTHLY REVIEW SIGN-OFF
Review Month | Reviewed By | Title | Date | Overall Status | Action Items | Escalated to Director?
January |  | May: ☐ Yes ☐ No
February |  | May: ☐ Yes ☐ No
March |  | May: ☐ Yes ☐ No
April |  | May: ☐ Yes ☐ No
May |  | May: ☐ Yes ☐ No
June |  | May: ☐ Yes ☐ No
July |  | May: ☐ Yes ☐ No
August |  | May: ☐ Yes ☐ No
September |  | May: ☐ Yes ☐ No
October |  | May: ☐ Yes ☐ No
November |  | May: ☐ Yes ☐ No
December |  | May: ☐ Yes ☐ No

## Instructions & Targets
QUALITY INDICATORS DASHBOARD — GUIDE
HOW TO USE THIS DASHBOARD:
1. Enter actual monthly values in the month columns (Jan–Jun / Jul–Dec)
2. Review against target benchmarks; highlight cells red if below target
3. Quality Manager completes the monthly sign-off at the bottom
4. Trends should be reviewed quarterly and escalated to Lab Director if targets missed
REGULATORY REFERENCES:
CLIA 42 CFR 493.1256 (QC), 493.1291 (Critical Values), 493.801 (PT)
CAP QM.09010, COM.04050, COM.04200
CLSI EP23-A, ISO 15189:2022 Section 8.9