|  | INTERNAL AUDIT CHECKLIST Laboratory Compliance & Quality Systems Audit | Audit #: AUD-______ Date: ___________ Auditor: ___________ Dept Audited: ___________ |
| --- | --- | --- |

AUDIT INFORMATION

| Audit Type | Scope | Auditee (Supervisor) | Scheduled Date |
| --- | --- | --- | --- |
| ☐ Comprehensive ☐ Focused ☐ Follow-Up |  |  |  |

AUDIT CHECKLIST

| # | Area | Audit Item / Criterion | Reg. Reference | Compliant? | Finding # |
| --- | --- | --- | --- | --- | --- |
| 1 | Pre-Analytical | Specimen collection SOPs are current and accessible to staff | CLIA §493.1231 | ☐ Yes ☐ No ☐ N/A |  |
| 2 | Pre-Analytical | Patient ID verification procedure is followed consistently | CAP GEN.40490 | ☐ Yes ☐ No ☐ N/A |  |
| 3 | Pre-Analytical | Specimen labeling requirements are defined and enforced | CLIA §493.1232 | ☐ Yes ☐ No ☐ N/A |  |
| 4 | Pre-Analytical | Specimen rejection criteria are documented and applied | CAP ANP.11620 | ☐ Yes ☐ No ☐ N/A |  |
| 5 | Pre-Analytical | Chain of custody procedures are followed for forensic/legal specimens | State regs | ☐ Yes ☐ No ☐ N/A |  |
| 6 | Analytical | QC is performed per laboratory policy (frequency, levels) | CLIA §493.1256 | ☐ Yes ☐ No ☐ N/A |  |
| 7 | Analytical | Westgard or equivalent QC rules are applied and documented | CLIA §493.1256 | ☐ Yes ☐ No ☐ N/A |  |
| 8 | Analytical | Instrument maintenance logs are current and complete | CLIA §493.1254 | ☐ Yes ☐ No ☐ N/A |  |
| 9 | Analytical | Calibration verification is performed per required intervals | CLIA §493.1255 | ☐ Yes ☐ No ☐ N/A |  |
| 10 | Analytical | Reagent lot changes are documented with QC bridging performed | CAP CHM.12500 | ☐ Yes ☐ No ☐ N/A |  |
| 11 | Analytical | Reference intervals are verified for patient population | CLIA §493.1253 | ☐ Yes ☐ No ☐ N/A |  |
| 12 | Analytical | Delta check criteria are defined and applied | CAP COM.04200 | ☐ Yes ☐ No ☐ N/A |  |
| 13 | Post-Analytical | Critical values list is current and notification procedure followed | CLIA §493.1291 | ☐ Yes ☐ No ☐ N/A |  |
| 14 | Post-Analytical | Turnaround time goals are defined and monitored | CAP COM.04050 | ☐ Yes ☐ No ☐ N/A |  |
| 15 | Post-Analytical | Result reporting SOPs include reflex testing algorithms | CLIA §493.1291 | ☐ Yes ☐ No ☐ N/A |  |
| 16 | Post-Analytical | Amended report procedures are documented and followed | CLIA §493.1291 | ☐ Yes ☐ No ☐ N/A |  |
| 17 | Personnel | All staff have current, documented competency assessments | CLIA §493.1451 | ☐ Yes ☐ No ☐ N/A |  |
| 18 | Personnel | Training records are complete and up to date | CLIA §493.1452 | ☐ Yes ☐ No ☐ N/A |  |
| 19 | Personnel | Personnel files contain required credentials and licenses | CLIA §493.1405 | ☐ Yes ☐ No ☐ N/A |  |
| 20 | Documents | All SOPs are current, approved, and accessible | CLIA §493.1231 | ☐ Yes ☐ No ☐ N/A |  |
| 21 | Documents | Document control log reflects current revision status | CAP GEN.20375 | ☐ Yes ☐ No ☐ N/A |  |
| 22 | Documents | Obsolete documents are removed from active use | CAP GEN.20375 | ☐ Yes ☐ No ☐ N/A |  |
| 23 | PT/EQC | Proficiency testing is enrolled and results are reviewed | CLIA §493.801 | ☐ Yes ☐ No ☐ N/A |  |
| 24 | PT/EQC | PT failures have documented investigations and CAPAs | CLIA §493.855 | ☐ Yes ☐ No ☐ N/A |  |
| 25 | CAPA/NCR | Open CAPAs are within target completion dates | CLIA §493.1239 | ☐ Yes ☐ No ☐ N/A |  |
| 26 | CAPA/NCR | NCRs are tracked and closed with appropriate documentation | CAP QM.09010 | ☐ Yes ☐ No ☐ N/A |  |
| 27 | Safety | OSHA required training is current for all staff | OSHA 29 CFR 1910 | ☐ Yes ☐ No ☐ N/A |  |
| 28 | Safety | Biohazard waste disposal procedures are followed | OSHA/State | ☐ Yes ☐ No ☐ N/A |  |
| 29 | Safety | Chemical hygiene plan is current and accessible | OSHA 29 CFR 1910.1450 | ☐ Yes ☐ No ☐ N/A |  |
| 30 | IT/LIS | LIS access control and audit logs are maintained | HIPAA §164.312 | ☐ Yes ☐ No ☐ N/A |  |

FINDINGS SUMMARY

| Finding # | Description of Finding | Classification | CAPA # Assigned |
| --- | --- | --- | --- |
| F-1 |  | ☐ Major ☐ Minor ☐ Opportunity |  |
| F-2 |  | ☐ Major ☐ Minor ☐ Opportunity |  |
| F-3 |  | ☐ Major ☐ Minor ☐ Opportunity |  |
| F-4 |  | ☐ Major ☐ Minor ☐ Opportunity |  |
| F-5 |  | ☐ Major ☐ Minor ☐ Opportunity |  |

AUDIT SUMMARY & SIGN-OFF

| Total Items Reviewed | Compliant | Non-Compliant | N/A | # Findings | Overall Rating |
| --- | --- | --- | --- | --- | --- |
| 30 |  |  |  |  | ☐ Satisfactory ☐ Marginal ☐ Unsatisfactory |

| Lead Auditor | Auditee Acknowledgment | Quality Manager |
| --- | --- | --- |
| Signature: _______________ Date: ___________________ | Signature: _______________ Date: ___________________ | Signature: _______________ Date: ___________________ |