|  | SPECIMEN REJECTION CRITERIA FORM Pre-Analytical Quality Control — Rejection Documentation | Form #: SPC-F-001 Date: ___________ Tech ID: ___________ Accession #: ___________ |
| --- | --- | --- |

SPECIMEN INFORMATION

| Patient Name / MRN | Date of Collection | Collected By | Collection Site |
| --- | --- | --- | --- |
| Specimen Type | Test(s) Requested | Date/Time Received | Received By |

REJECTION CRITERIA — CHECK ALL THAT APPLY

|  | PRE-COLLECTION ISSUES |  | COLLECTION ISSUES |
| --- | --- | --- | --- |
| ☐ | No order / order not found in system | ☐ | Wrong tube type used |
| ☐ | Patient not properly prepared (fasting required) | ☐ | Incorrect tube additive (e.g., EDTA vs. heparin) |
| ☐ | Duplicate specimen — accession already processed | ☐ | Insufficient volume (QNS — quantity not sufficient) |
| ☐ | Test not offered by this laboratory | ☐ | Tube not filled to minimum required volume |

|  | LABELING ISSUES |  | TRANSPORT / INTEGRITY ISSUES |
| --- | --- | --- | --- |
| ☐ | Unlabeled specimen | ☐ | Hemolyzed specimen (degree: ☐ mild ☐ moderate ☐ severe) |
| ☐ | Misidentified / mislabeled (name/DOB mismatch) | ☐ | Lipemic specimen (affects result: ☐ Yes ☐ No) |
| ☐ | Incomplete label (missing patient ID, DOB, or date/time) | ☐ | Icteric specimen (affects result: ☐ Yes ☐ No) |
| ☐ | Label on wrong tube | ☐ | Clotted specimen (anticoagulated tube) |
| ☐ | Label information illegible | ☐ | Specimen stored at wrong temperature |
| ☐ | Label not adhered properly (falling off) | ☐ | Specimen expired / beyond stability limit |
|  |  | ☐ | Leaking or contaminated container |
|  |  | ☐ | Specimen received without requisition/orders |

REJECTION DETAIL & DISPOSITION

Additional comments / specific findings:

| Specimen Disposition | Physician / Ordering Clinician Notified? | Re-collection Required? |
| --- | --- | --- |
| ☐ Rejected and discarded ☐ Rejected - returned to sender ☐ Processed with comment | ☐ Yes - Time: __________ ☐ No Notified By: ___________ | ☐ Yes ☐ No Re-collected: __________ |

| Laboratory Technologist | Supervisor Review (if critical rejection) |
| --- | --- |
| Signature: _________________________ Date/Time: _________________________ | Signature: _________________________ Date/Time: _________________________ |