## Monthly Maintenance Log
Lab2Doctors ¦ Instrument Maintenance Log
Equipment Preventive Maintenance & Corrective Action Tracking (CLIA Compliant)
Document #: IML-001 ¦ Version: 1.0 | [6 empty] | Effective Date: ___________
Instrument Name: | [5 empty] | Instrument ID / Serial #:
Department / Location: | [5 empty] | Manufacturer / Model:
Date | Maintenance Type | Task Performed | Reagent/Part Used (Lot #) | QC Status Before | QC Status After | Performed By | Supervisor Reviewed | Next PM Due Date | Notes / Findings
| Daily PM | Clean sample probe, check fluid levels, verify startup QC |  | Pass | Pass
| Weekly PM | Clean sample path, check tubing, inspect waste container |  | Pass | Pass
| Monthly PM | Full system cleaning, replace filters per manufacturer protocol
| Calibration | Multi-point calibration performed per SOP-CAL-001
| Annual PM | Manufacturer service contract PM — full inspection

## PM Schedule & Checklist
Lab2Doctors ¦ Instrument PM Schedule & Checklist
Use this sheet to plan and confirm PM tasks by frequency
DAILY PREVENTIVE MAINTENANCE TASKS
Task | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
Perform instrument startup / initialization | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Run daily QC at required levels; document results | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Check reagent levels; replenish if needed | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Inspect probe and sample lines for blockage | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Clean instrument surfaces per manufacturer instructions | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Review error/alarm messages and document | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
Verify waste container level; empty if required | ☐ | ☐ | ☐ | ☐ | ☐ | ☐
WEEKLY PREVENTIVE MAINTENANCE TASKS
Task | Jan | Feb | Mar | Apr | May | Jun
Full sample path cleaning per manufacturer SOP | bar: Jan to Jun
Inspect and clean all external tubing | bar: Jan to Jun
Check all filters; replace if clogged | bar: Jan to Jun
Perform linearity check if indicated | bar: Jan to Jun
Review daily logs for recurring errors | bar: Jan to Jun
MONTHLY PREVENTIVE MAINTENANCE TASKS
Task | Jan | Feb | Mar | Apr | May | Jun
Complete system deep clean per manufacturer protocol | bar: Jan to Jun
Inspect and replace consumables (per manufacturer schedule) | bar: Jan to Jun
Verify calibration remains within acceptable limits | bar: Jan to Jun
Check backup power / UPS systems | bar: Jan to Jun
Review and document instrument uptime statistics | bar: Jan to Jun
QUARTERLY / ANNUAL TASKS
Task | Q1 | Q2 | Q3 | Q4
Manufacturer-authorized PM service (annual) | bar: Jan to Apr
Full calibration verification | bar: Jan to Apr
Review and update instrument SOP if needed | bar: Jan to Apr
Document completion in equipment file | bar: Jan to Apr