## Calibration Verification
Calibration Verification Worksheet
Analytical Range & Linearity Verification — CLIA §493.1255 / CAP CHM.13850
Document #: CAL-001 ¦ Version: 1.0 ¦ | [6 empty] | Effective Date: ___________
Instrument Name / ID: |  |  |  | Calibration Date:
Analyte / Test System: |  |  |  | Performed By:
Method / Reagent Lot #: |  |  |  | Approved By:
PART A: CALIBRATION MATERIALS
Calibrator Level | Lot Number | Expiration Date | Manufacturer | Assigned Value | Units | Storage Temp | Opened Date | Status
Level 1
Level 2
Level 3
Level 4
Level 5
Level 6
PART B: LINEARITY / ANALYTICAL MEASUREMENT RANGE (AMR) VERIFICATION
Level | Assigned / Expected Value | Run 1 Result | Run 2 Result | Run 3 Result | Mean of Runs | Deviation from Expected | % Deviation | Pass / Fail (≤ ±10%)
Level 1
Level 2
Level 3
Level 4
Level 5
Level 6
PART C: BIAS / ACCURACY ASSESSMENT
Method | Reference Value | Lab Result | Absolute Bias | % Bias | Acceptable Bias (%) | Pass / Fail | Comments
Comparison Method
External QC Reference
Reference Material
PT Assigned Value
PART D: CONCLUSION & SIGN-OFF
Calibration Verification Conclusion: ☐ PASS — Calibration verified; instrument may be placed into service ☐ FAIL — Calibration failed; instrument removed from service pending investigation and repeat calibration ☐ CONDITIONAL — Acceptable with noted limitations (specify in comments below)
Comments / Corrective Actions:
Performed By |  |  | Technical Supervisor |  |  | Laboratory Director
Signature: _______________ Date: ___________________ |  |  | Signature: _______________ Date: ___________________ |  |  | Signature: _______________ Date: ___________________