## TAT Dashboard
Lab2Doctors ¦ Turnaround Time (TAT) Dashboard
Monthly Performance vs. Target — CAP COM.04050 / CLIA §493.1291
Document #: TAT-001 ¦ Version: 1.0 | [8 empty] | Effective Date: ___________
SECTION A: TAT TARGETS (Reference)
Test Category | Priority | TAT Target | Measured From | Measured To | Review Frequency | Notes / SLA Source
STAT Chemistry / CBC | STAT | ≤ 60 min | Order receipt | Result verified | Monthly
Routine Chemistry / CBC | Routine | ≤ 120 min | Order receipt | Result verified | Monthly
STAT Coagulation | STAT | ≤ 45 min | Order receipt | Result verified | Monthly
Routine Coagulation | Routine | ≤ 90 min | Order receipt | Result verified | Monthly
Critical Value Notify | Immediate | ≤ 30 min | Result verified | Clinician contacted | Monthly
Blood Culture (flag) | Routine | ≤ 5 days | Specimen receipt | Prelim report | Monthly
Gram Stain | STAT | ≤ 60 min | Specimen receipt | Result reported | Monthly
Urinalysis (routine) | Routine | ≤ 60 min | Specimen receipt | Result verified | Monthly
Microbiology Final | Routine | ≤ 5 days | Specimen receipt | Final report | Monthly
SECTION B: MONTHLY TAT PERFORMANCE DATA
Test / Category | Target | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
STAT Chemistry / CBC — Mean TAT (min) | ≤60
STAT Chemistry / CBC — % Met Target | ≥95%
Routine Chemistry / CBC — Mean TAT (min) | ≤120
Routine Chemistry / CBC — % Met Target | ≥95%
STAT Coagulation — Mean TAT (min) | ≤45
Critical Value Notify — Mean TAT (min) | ≤30
Critical Value Notify — % Met Target (≤30 min) | ≥95%
Blood Culture — Mean TAT (days) | ≤5
Urinalysis — Mean TAT (min) | ≤60
SECTION C: MONTHLY COMPLIANCE SUMMARY
Month | Total Tests Reviewed | Jan: # Met TAT Target; Feb: # Missed Target; Mar: Overall Compliance %; Apr: Root Causes Identified; May: Corrective Actions / Notes
January | bar: Jan to May
February
March | bar: Jan to May
April
May | bar: Jan to May
June
July | bar: Jan to May
August
September | bar: Jan to May
October
November | bar: Jan to May
December