|  | COMPETENCY ASSESSMENT CHECKLIST Annual Laboratory Personnel Competency Evaluation (CLIA Compliant) | Assessment #: CMP-______ Date: ___________ Evaluator: ___________ Test System: ___________ |
| --- | --- | --- |

EMPLOYEE INFORMATION

| Employee Name | Employee ID | Job Title | Department |
| --- | --- | --- | --- |
| Hire Date | Last Assessment Date | Assessment Period | Assessment Type |
|  |  |  | ☐ Initial (6-month) ☐ Annual ☐ After Problem ☐ New Method |

CLIA §493.1451 requires competency assessment using at least 6 of the following methods:

| Method Used |  |  |
| --- | --- | --- |
| ☐ 1. Direct observation ☐ 2. Monitoring of QC records ☐ 3. Review of test results | ☐ 4. Direct observation of instrument maintenance ☐ 5. Assessment of problem-solving skills | ☐ 6. Evaluation of test results (unknown samples) ☐ 7. Written/oral examination ☐ 8. Other: _____________ |

COMPETENCY ELEMENTS - PRE-ANALYTICAL

| # | Assessment Method | Competency Element | Performance Rating | Evaluator Initials |
| --- | --- | --- | --- | --- |
| 1 | Direct Observation | Patient ID verification performed correctly before specimen collection | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 2 | Direct Observation | Correct tube type and order of draw followed | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 3 | Direct Observation | Specimen labeling completed accurately (all required fields) | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 4 | Record Review | Documents rejection criteria correctly and notifies appropriately | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 5 | Direct Observation | Specimen transport conditions maintained (temperature, time) | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |

COMPETENCY ELEMENTS - ANALYTICAL

| # | Assessment Method | Competency Element | Performance Rating | Evaluator Initials |
| --- | --- | --- | --- | --- |
| 6 | Direct Observation | Instrument startup, maintenance, and calibration procedures | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 7 | Direct Observation | QC preparation, performance, and documentation | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 8 | Record Review | Applies QC rules (Westgard) correctly; recognizes out-of-control | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 9 | Blind Sample | Processes unknown samples with correct results (within acceptable range) | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 10 | Problem-Solving | Troubleshoots instrument errors or QC failures appropriately | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 11 | Record Review | Reagent lot change documented with QC bridging performed | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 12 | Written Exam | Demonstrates knowledge of interferences (hemolysis, lipemia, icterus) | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |

COMPETENCY ELEMENTS - POST-ANALYTICAL & SAFETY

| # | Assessment Method | Competency Element | Performance Rating | Evaluator Initials |
| --- | --- | --- | --- | --- |
| 13 | Record Review | Critical values identified and reported within policy timeframe | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 14 | Direct Observation | Result entry / LIS use is accurate and follows SOP | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 15 | Direct Observation | Biohazard waste disposal and PPE use is correct | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 16 | Written Exam | Demonstrates knowledge of laboratory safety policies and OSHA | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |
| 17 | Direct Observation | Confidentiality and HIPAA compliance observed | ☐ Satisfactory ☐ Needs Improvement ☐ Unsatisfactory |  |

OVERALL ASSESSMENT & PLAN

| Satisfactory Elements | Elements Needing Improvement | Unsatisfactory Elements | Overall Outcome |
| --- | --- | --- | --- |
|  |  |  | ☐ Competent — Cleared ☐ Remediation Required ☐ Restricted Duties ☐ Termination Warranted |

Remediation Plan (if required):

| Employee Acknowledgment | Evaluator | Laboratory Director |
| --- | --- | --- |
| Signature: _______________ Date: ___________________ | Signature: _______________ Date: ___________________ | Signature: _______________ Date: ___________________ |