## Lot-to-Lot Comparison
Reagent Lot-to-Lot Comparison Sheet
New Reagent Lot Acceptance Testing — CLIA §493.1255 / CAP CHM.13850
Document #: RLL-001 ¦ Version: 1.0 | [6 empty] | Effective Date: ___________
Instrument Name / ID: |  |  |  | Test / Analyte:
Current (Outgoing) Lot #: |  |  |  | New (Incoming) Lot #:
Reagent Manufacturer: |  |  |  | New Lot Expiration Date:
Performed By: |  |  |  | Date of Comparison:
PART A: QC MATERIAL COMPARISON (New Lot vs. Current Lot)
QC Level | Current Lot — Mean | Current Lot — SD | New Lot — Run 1 | New Lot — Run 2 | New Lot — Run 3 | New Lot — Mean | Difference (New-Current) | Pass / Fail (≤±2SD)
Level 1 (Low)
Level 2 (Normal)
Level 3 (High)
PART B: PATIENT SPECIMEN COMPARISON (Split-Sample)
Sample ID | Current Lot Result | New Lot Result | Difference | % Difference | Acceptable (≤±10%)? | Specimen Type | Collection Date | Notes
Sample 1
Sample 2
Sample 3
Sample 4
Sample 5
Sample 6
Sample 7
Sample 8
Sample 9
Sample 10
PART C: LINEARITY / ANALYTICAL RANGE CHECK (if applicable)
Level | Expected Value | New Lot Result | Deviation | % Deviation | Pass/Fail (≤±10%) | Notes
Level 1
Level 2
Level 3
Level 4
Level 5
PART D: CONCLUSION & AUTHORIZATION
Lot Acceptance Decision: ☐ ACCEPT new lot — All comparison criteria passed. New lot placed into service. ☐ ACCEPT CONDITIONALLY — Minor deviation noted (specify in comments). Monitor closely. ☐ REJECT new lot — Comparison criteria not met. Return to vendor. Do not place into service. Comments: ___________________________________________________________________________
Performed By |  |  | Technical Supervisor |  |  | Date of Acceptance
Signature: _______________ Date: ___________________ |  |  | Signature: _______________ Date: ___________________